## Sheet1
Microscopes/Devices | Description | Source/Links | Publications
3D Printable Microscope for Home or Lab | For educational purposes. The lenses have to be sourced from disposable cameras. | https://www.instructables.com/3D-printable-microscope-for-home-or-lab/
Flypi | The €100 lab: A 3D-printable open-source platform for fluorescence microscopy, optogenetics, and accurate temperature control during behaviour of zebrafish, Drosophila, and Caenorhabditis elegans. | https://github.com/amchagas/Flypi | https://journals.plos.org/plosbiology/article?id=10.1371/journal.pbio.2002702#sec014
AttoBright | The AttoBright is a 10×20 cm single-molecule confocal system capable of single photon counting and fluorescence correlation spectroscopy. The scaffolding is designed to minimize the amount of optical components needed, and make those optical components easy to install with automated alignment. | https://github.com/GambinSiereckiLab/AttoBright | https://www.nature.com/articles/s41467-019-13617-0
cellSTORM II | A low-cost super-resolution imaging device based on a cellphone camera and photonic waveguide chips. | https://beniroquai.github.io/stormocheap/ | https://www.biorxiv.org/content/10.1101/2020.09.04.283085v1.full
Digital Inline Holographic Microscopy (DIHM) | Simple holographic microscope. | https://github.com/teph12/DIHM | https://www.nature.com/articles/s41598-019-47689-1
Inexpensive, Open Source Epifluorescence Microscopes | Detailed instructions on how to 3D print the parts. Includes .CAD and .STL. | https://pubs.acs.org/doi/10.1021/acs.jchemed.5b00984#notes-1 | https://pubs.acs.org/doi/10.1021/acs.jchemed.5b00984
Low-cost lens-less holographic cellular imaging | Open-source implementation of a lens-less digital inline holographic microscope platform, based on off-the-shelf optical, electronic and mechanical components, costing less than $190. It employs a Blu-Ray semiconductor-laser-pickup or a light-emitting-diode, a pinhole, a 3D-printed housing consisting of 3 parts and a single-board portable computer and camera with an open-source implementation of the Fresnel-Kirchhoff routine. | https://github.com/teph12/DIHM | https://www.nature.com/articles/s41598-019-47689-1#Sec7
Microscopi | Open-source microscopy platform with automated xyz control Low cost construction with readily available components and 3d-printed frame Easy to use, browser-based GUI that can be run from any internet capable device Designed for teaching, outreach and field microscopy. | https://micronoxford.com/microscopi | https://www.biorxiv.org/content/10.1101/2020.05.21.108894v1.full?__cf_chl_jschl_tk__=24b4e1fcd1a90dcb7e522a50fe58d9c0587bc58a-1608155852-0-AYWH9EWSDpv1GWSgjRWaJe0nWteOd4zbTwMIQRQrgifYr5t1b4yTO_uy62htyCRCi4LoJcMaYQYi09BGq5gids0-L1Vf1h-Nnj82g_THQH4hdyUWKDou-yIGBXa6ij9OdXguNSEXFp90woKRESp6Js248YUp-h0SM87ZFkfLz2d4zTKDjfc_gmzJZ-eoQuovjTRgi0aZ6iWnavB34pNBdC9mV-r_WrIEg8I1VyDtnGMcDaEUHC6Rp8atooxM3rFiK2VxJWO0kBb1pqrS9HA70QjdS-dMA6Gu4dldn1iMMh-nYrIHA1Z-SzFRne2U5h3YOHR_pvOjhvJi477M7oi1VSUyXCG-iJ5h9P67R6vB1SLB
miCube | Modular fluorescent microscope composed of around 30 parts that can all be printed. | https://hohlbeinlab.github.io/miCube/component_table.html | https://www.nature.com/articles/s41467-019-11514-0#Sec11
Miniature multicolor fluorescence microscope | 3D-printed fluorescence miniature microscope | https://github.com/BioARTS-Lab/Miniature_Microscope | https://journals.plos.org/plosone/article?id=10.1371/journal.pone.0215114
NicoLase | An open-source diode laser combiner, fiber launch, and sequencing controller for fluorescence microscopy | https://github.com/PRNicovich/NicoLase; https://github.com/PRNicovich/3D-Printed-Optics-Lab-Parts | https://journals.plos.org/plosone/article?id=10.1371/journal.pone.0173879
OpenFlexure Block Stage | Block Stage capable of X, Y, Z movement enabling very fine (sub-micron) mechanical positioning. | https://openflexure.org/projects/blockstage/ | https://www.osapublishing.org/DirectPDFAccess/8A44DCB6-48B6-4F14-AADAE08B6CF80971_426579/oe-28-4-4763.pdf?da=1&id=426579&seq=0&mobile=no
OpenFlexure Delta Stage | Adaptor for the OpenFlexure Microscope. The delta stage aims to allow 3D movement of the stage but with totally static optics. | https://openflexure.org/projects/deltastage/ | https://www.nature.com/articles/s41598-019-52065-0
OpenFlexure Microscope | Fully 3D printed microscope. | https://openflexure.org/projects/microscope/ | https://www.biorxiv.org/content/10.1101/861856v1
OpenSPIM | Platform to build, adapt and enhance SPIM technology. It is designed to be as accessible as possible including off the shelf and 3D printing parts in both .STEP and .STL files. | https://openspim.org/Table_of_parts | https://www.nature.com/articles/nmeth.2507
UC2 | With UC2 (You. See. Too.) we present a low-cost, 3D-printed, open-source, modular microscopy toolbox and demonstrate its versatility by realizing a complete microscope development cycle from concept to experimental phase. The self-contained incubator-enclosed brightfield microscope monitors monocyte to macrophage cell differentiation for seven days at cellular resolution level (e.g. 2 μm). | https://github.com/bionanoimaging/UC2-GIT | https://www.nature.com/articles/s41467-020-19447-9
UniverSlide | All-in-one 3D printed microscopy chamber for multidimensional imaging. | https://github.com/HenriquesLab/Fieldguide_3DPrinting_Microscopy/blob/main/STL/UniverSlide/README.md; STL files: https://static-content.springer.com/esm/art%3A10.1038%2Fsrep42378/MediaObjects/41598_2017_BFsrep42378_MOESM221_ESM.zip | https://www.nature.com/articles/srep42378
WOSM (Warwick Open Source Microscope) | Super-stable physical platform and control interface for high resolution optical microscopy. | https://wosmic.org/ | https://wosmic.org/hw/base/index.php
μCube | Framework for optomechanics design compatible with 3D printing. Provides an assembly standard for designing, building and sharing optical modules. | https://mdelmans.github.io/uCube/; https://github.com/mdelmans/uCube | https://openhardware.metajnl.com/articles/10.5334/joh.8/
Sample Manipulation | Description | Source/Links | Publications
3D printed biaxial stretcher | 3D printed Open source Biaxial Stretcher (OBS) to be a low-cost stage top mountable biaxial stretching system for use with live cell fluorescence microscopy in both upright and inverted microscope configurations. | https://zenodo.org/record/3483849 | https://www.sciencedirect.com/science/article/pii/S2468067220300031
3D printed water-soluble scaffolds | Lab on chip (LOC) device made by 3D-printing scaffolds made of water-soluble polyvinyl alcohol (PVA) filaments. A mold is then used to cover the scaffolds with polydimethylsiloxane (PDMS) until it hardens. Water is used to dissolve the PVA filaments without leaving residues. Can be printed directly onto coverslips. The channels are transparent, biocompatible and ready to use without specialised training in biological assays. | https://figshare.com/articles/dataset/Supplementary_Information/5182597/2 | https://www.nature.com/articles/s41598-018-21638-w#Sec11
3D-printed Peristaltic Pumps for Small Volume Point-of-Care Liquid Handling | Low-cost (~$120), open-source peristaltic pump constructed with a combination of three dimensional (3D)-printed parts and common hardware. This pump accepts commonly available silicone rubber tubing in a range of sizes from 1.5 to 3 mm, and is capable of producing flow rates up to 1.6 mL min−1. This device is programmed with an Arduino microcontroller. | https://github.com/HenriquesLab/Fieldguide_3DPrinting_Microscopy/tree/main/STL/Peristaltic%20pump; Original STL file source: https://static-content.springer.com/esm/art%3A10.1038%2Fs41598-020-58246-6/MediaObjects/41598_2020_58246_MOESM2_ESM.zip | https://www.nature.com/articles/s41598-020-58246-6
Cell culture grid holders for specimen preparation in cryo-electron microscopy | 3D printed grid holders facilitate sample preparation for cellular cryo-ET | https://schurlab.ist.ac.at/downloads/ | https://www.sciencedirect.com/science/article/pii/S1047847720302069
IncuBot | A 3D Printer-Based Microscope for Long-Term Live Cell Imaging within a Tissue Culture Incubator | https://osf.io/es3hr/ | https://www.biorxiv.org/content/10.1101/2020.05.28.121608v2?__cf_chl_jschl_tk__=8e102e672d046001ae9ca36a9a3c520fa29e4567-1608158449-0-ARgLLe8IGtDt_jFRTDvBtcHfzpK9gijYS5UcR7IXuQufVYe1zP6Nihj4Ca4CBj3-MaX7Up_uGjlM0ivnIN2xipvxV8eZSWbO7LKyJurN2Daedl1QXdC1oltZxQVsQhXjbnNqW_DDV11IVlc_l7fMDxfruAhNBN1QnSQLdOf4MgelVSgjsDBkMT1FSO--gCantYsB2XqwSLd_4Bdl6K_oGHGytkSqWphP0VU_1IUWctwHitBxKm2Hi8Clr5L_MFOQch02yeznDtQV7u_sH-AXEbC8RJhs951nJDA0R_Hm9kqvJdOc0CxIoqrag_ReTmxE1IPdkBI_TwSRVec1mWOZGDsu8boFMlLu67lfGMtie4zV
Model Atomic Force Microscope to Measure Force–Distance Profiles | How to build an atomic force microscope (AFM) using commercially available thermoplastics. However, the model uses many key elements of an actual AFM (a z-axis stage, an AFM head with a cantilever assembly, and a laser source that reflects off of the back of the cantilever). | https://github.com/HenriquesLab/Fieldguide_3DPrinting_Microscopy/tree/main/STL/AFM; Original STL file source: https://pubs.acs.org/doi/suppl/10.1021/acs.jchemed.9b01099/suppl_file/ed9b01099_si_004.zip | https://pubs.acs.org/doi/10.1021/acs.jchemed.9b01099
NanoJ-Fluidics | NanoJ-Fluidics is an open-source device, composed of easily accessible LEGO-parts, electronics and labware. It is designed to automate and simplify fluid exchange experiments in microscopy. | https://github.com/HenriquesLab/NanoJ-Fluidics | https://www.nature.com/articles/s41467-019-09231-9
The FAST Pump | The FAST Pump, a low-cost, easy to fabricate, SLA-3D-printed peristaltic pump for multi-channel systems in any lab. | https://osf.io/3r7h4/ | https://www.sciencedirect.com/science/article/pii/S2468067220300249
Cell growth Lab | 3D printed microscopy chambers for vertical microscopes. Fit into a ZEISS Universal mounting frame K. | Source: https://cellgrowth-lab.weebly.com/3d-prints.html | https://www.biorxiv.org/content/10.1101/2020.11.23.391474v1
Poseidon syringe pump | 3D printed microscopy chambers for vertical microscopes. Fit into a ZEISS Universal mounting frame K. | https://github.com/pachterlab/poseidon | https://www.nature.com/articles/s41598-019-48815-9